Supplemental data

Generic Validation / Verification Form

This form is intended as a guide to aid laboratories in developing a suitable validation / verification procedure.  A suggested methodology for using the form has been given below.

The terms ‘investigating scientist’ and ‘senior scientist’ have been used for illustration of an authorization procedure – organisation of authorization systems is a matter for individual laboratories.

- Section 1 should be completed as far as possible to establish the goals and general format of the validation / verification.

- Sections 1.1 “Intended use or application” and 1.2 “Requirements” must be completed at the start of the procedure. The assessment of the validation/verification depends formally on confirmation, through the provision of objective evidence, that these requirements have been fulfilled.

- If mentioned (1.2), the “Expected Performance” should be distinguished from the “Requirements”, which must be shown to have been fulfilled.

E.g. The statement “should detect all known point mutations of hemophilia A” could be included as a guide in the Expected performance; if stated as a requirement, however, it would need to be proved.

- Section 2 covers the validation of utility which should be carried out for all validations and verifications.  In the majority of cases this section can be completed on objective evidence from developmental work, design procedures (e.g. SNP checking primers) or by the use of limitations or controls in the on-going test. Where this is not the case, work plans for relevant parameters should be prepared as in 3 below.

- Appropriate parameters for experimental investigation should be identified with the aid of the table appendix A – a checklist is also provided at the top of section 3.  For each parameter required, the investigating scientist develops a work plan based on section 3 (these are referenced 3.1, 3.2 to 3.n) by completing copies of sections 3.n.1 (‘Aims’, ‘Samples’ and ‘Methodology’). It is suggested that these be maintained in a single document.

Note: several parameters may be tested in a single experiment, for example sensitivity and specificity.

- The work plan[s] should be agreed and authorized by the investigating and the senior scientist by signing and dating in the boxes provided.

- The experimental work is performed and analysed by the investigating scientist who should then complete the ‘experimental results’ and ‘interpretation’ sections 3.n.2.

- The ‘outcome and limitations’ should be agreed between the investigating and senior scientists by signing and dating in the boxes provided.

- Points 3 to 6 should be repeated for each parameter to be tested.

- If there is any non compliance between the experimental results and the required performance specification detailed in section 1.2 the parameter in question should to be re-examined to determine if the methodology can be changed or new limitations introduced to rectify the non-compliance.  Any further work should be recorded in a new section 3 work plan. Alternatively the implementation can be abandoned.

- Once all the parameters have been satisfactorily investigated the investigating and senior scientist can agree and sign off the final conclusions in section 4.

Assuming the validation / verification has been completed satisfactorily an implementation plan can be drawn up. Appendix B provides a basis for an administrative checklist for the implementation.

- Validation / Verification Details

| Test name | Internal descriptive name | Reference | Internal ref. |
| --- | --- | --- | --- |

  - Test details

| Intended use or application | Outline the intended results of the test and how they will be used including any interpretative considerations; linked to 1.2 Performance Requirements. |
| --- | --- |
| Locus / Gene / Marker | Specify analyte[s] |
| Reference Sequence | e.g. NCBI accession number |
| Outline methodology | Describe the technology and how it will be employed |
| SOP | Reference internal SOP |
| References | List any relevant documentation both internal and external indicating the derivation of the test and including performance specifications, publications and any previous validations |

1.2  Validation details

| Overall Aims | State clearly the overall aim of the validation |
| --- | --- |
| Requirements | Define the levels of performance that must be attained (accuracy, precision and any other performance requirements such as robustness or maximum failure rate). Linked to 1.1 Intended Use or Application and |
| Validation / Verification | State whether the study is a validation or verification and the justification for this course of action. |
| Type | State the type of test and if the validation is to be performed at implementation or on an ongoing basis. |
| Scope / limitations | List any pre existing limitations (e.g. test to be performed on DNA extracted from EDTA peripheral blood samples only) |
| Turn around time | The required TAT |
| Other considerations | List any other factors that may affect the utility of the test for the intended purpose. Expected performance can be mentioned here. |

2.  Validation of Utility

| Test name | Internal descriptive name | Reference | Internal ref. |
| --- | --- | --- | --- |

| Applicability of measurements | Is what is being tested appropriate and sufficient to achieve the desired results? |
| --- | --- |
| Selectivity | Detail any test specific selectivity issues together with limitations and/or control measures taken to ensure test utility. A validation work plan (section 3) should be drawn up for any specific potential selectivity issues that cannot be eliminated by limitation or control measure[s]. |
| Interferences | Detail any test specific interference factors together with limitations and/or control measures taken to ensure test utility. A validation work plan (section 3) should be drawn up for any specific potential interference that cannot be eliminated by limitation or control measure[s]. |
| Cross-reactivity | Detail any test specific cross-reactivity together with limitations and/or control measures taken to ensure test utility. A validation work plan (section 3) should be drawn up for any specific potential cross-reactivity that cannot be eliminated by limitation or control measure[s]. |

| Authorization | Name | Signature | Date |
| --- | --- | --- | --- |
| Investigating scientist |  |  |  |
| Senior Scientist (Authorization) |  |  |  |

3.n  Validation / Verification for [insert parameter]

A copy of this section should be filled in for all parameters to be tested.

| Test name | Internal descriptive name | Reference | Internal ref. |
| --- | --- | --- | --- |

|  | Sensitivity |  | Trueness |  | Reproducibility |  | Limit of quantification |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Specificity |  | Repeatability |  | Robustness |  | Linearity |
|  | Accuracy |  | Intermediate precision |  | Limit of detection |  | Measurement uncertainty |

3.n.1  Work plan

| Section aims | Describe the specific aims of this section of the validation |
| --- | --- |
| Samples | Describe the samples to be used including [where relevant] numbers and type[s] of mutations present, relevant physical characteristics and how the sample status has been derived (i.e. the reference or ‘gold standard’ test). It may be appropriate to reference another document or database here. |
| Methodology | Describe the method to be used to evaluate the specific parameter |

| Authorization | Name | Signature | Date |
| --- | --- | --- | --- |
| Investigating scientist |  |  |  |
| Senior Scientist (Authorization) |  |  |  |

3.n.2  Partial results and conclusions

| Experimental results | Summarise the experimental results Cross-reference to or include the data. |
| --- | --- |
| Interpretation | Summarise the interpretation of experimental results (e.g. estimated level of accuracy with confidence limits) |
| Outcome / limitations | State whether the results fulfil the validation requirements listed in 1.2 List any specific derived limitations to reproduce the outcome (e.g. controls and how they should be used) |

| Authorization | Name | Signature | Date |
| --- | --- | --- | --- |
| Investigating scientist |  |  |  |
| Senior Scientist (Authorization) |  |  |  |

4. Validation / Verification Final Conclusions

| Test name | Internal descriptive name | Reference | Internal ref. |
| --- | --- | --- | --- |

| Overall Conclusion | State explicitly if the requirements in 1.2 have been fulfilled; Give any other relevant conclusions. |
| --- | --- |
| Estimates of accuracy and measures of uncertainty | Give experimentally-derived values for the relevant metrics. Comment on the potential influence of the uncertainty on the reliability of the result. |
| Limitations and/or predictable interferences | List all limitations and control measures required to maintain the on-going test performance |
| Internal QC | Detail internal quality control measures to be implemented, addressing in particular the limitations and interferences identified. |
| External QA | Details of external quality assurance measures |

| Authorization | Name | Signature | Date |
| --- | --- | --- | --- |
| Investigating scientist |  |  |  |
| Senior Scientist (Authorization) |  |  |  |

Appendix A: Types of test.  (Refer to main paper for full descriptions of test types)

NB. In addition to the parameters detailed below appropriate robustness testing should be carried out for all types of test.

|  | Description | Examples | Sensitivitya | Specificityb | Accuracyc | Trueness | Precisiond | Limits of detection | Probabilitye |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | Quantitative tests. The result can have any value between two limits (including decimals). | Determination of methylation load (%); characterization of a mosaic mutation; heteroplasmy of mitochondrial variants. | v |  |  | ++ | ++ | ++ |  |
| B | Categorical tests where the quantitative signal is placed into an ordinal series to give the final result. | Sizing a PCR product; determination of triplet repeat size (FRAXA, Huntington disease, etc.) |  |  | + | ++ | ++ | ++ | + |
| C | Categorical tests where the quantitative signal is placed into one of a limited series of predefined categories to give the final result. | Determination of copy number using PCR or MLPA.: exon deletion / duplication in BRCA1; PMP22 gene dosage in CMT and HNPP; |  |  | + | To establish correction factors and/or cut-offs |  | ++ |
| D | Qualitative tests where the true quantitative signal can have one of many possible values, but the required result can only have one of two possible values. | Mutation scanning for unknown mutations e.g. by sequencing or high resolution melt. | ++ | ++ | + | To establish correction factors and/or cut-offs | ++f |  |
| E | Qualitative [binary] tests where the true quantitative signal can only have one of two possible values | Genotyping for a specific mutation e.g. CFTR Phe508del in cystic fibrosis or HFE Cys282Tyr in hemochromatosis. | ++ | ++ | + | To establish correction factors and/or cut-offs | ++ f | + |

Legend				     Notes

|  | Metric used for implementation validation | a. | Sensitivity = True Positive / (True Positive + False Negative) |
| --- | --- | --- | --- |
|  | Metric used for implementation or ongoing validation | b. | Specificity = True Negative / (True Negative + False Positive) |
|  | Metric used for ongoing validation | c. | Accuracy = True Result / (True Result + False Result) |
| ++ | Recommended parameter | d. | Precision should be measured in terms of repeatability and intermediate precision (as well as reproducibility for inter-laboratory validations) |
| + | Applicable parameter (less used) | e. | The term ‘probability’ is used to describe situations where a probability that the result is correct can be assigned – primarily in ongoing validation (e.g. competitive hypothesis testing) |
|  |  | f. | Should be used in tests where genotyping of low level variations is required for example mitochondrial DNA |

Appendix B: Administrative checklist

|  | Validation completed and approved |
| --- | --- |
|  | Complete SOP |
|  | Order reagents |
|  | Health and safety aspects (personal, reagents) |
|  | Equipment (electrical testing, maintenance) |
|  | Subscribe to EQA |
|  | Update request forms |
|  | Update website and any directory listings |
|  | Billing procedure |
|  | Training |
|  | LIMS functionality |
|  | Worksheets |
|  | Inform clients |
|  | Report template |

# Footnotes

(ISO 9000:2005 3.8.4, 3.8.5)

Delete as appropriate

Delete as appropriate

Delete as appropriate