## model
Model for calculating the relative value of a pre-screen strategy with respect to sequencing
| Variables |  |  | Relative value of prescreen [V]
| Sequencing Strategy |  | Detection rate [D] | 1.6538 | 1 | 2 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13
1 | Seq orientations [primary screen] | 2 |  | 1 | 1.4602 | 2.1425 | 2.5378 | 2.7957 | 2.9773 | 3.2159 | 3.2986 | 3.3658 | 3.4216 | 3.4687 | 3.5089 | 3.5437
2 | Seq orientations [secondary screen] | 1 |  | 11 | 1.633 | 2.6232 | 3.2878 | 3.7646 | 4.1235 | 4.6276 | 4.8114 | 4.9648 | 5.0948 | 5.2062 | 5.3029 | 5.3876
3 | False positive rate [Pseq] | 0.05 |  | 21 | 1.6428 | 2.6533 | 3.3377 | 3.8319 | 4.2054 | 4.7328 | 4.9258 | 5.0871 | 5.224 | 5.3417 | 5.4438 | 5.5333
4 | Failure rate [Fseq] | 0.05 |  | 31 | 1.6464 | 2.6642 | 3.3558 | 3.8564 | 4.2354 | 4.7714 | 4.9678 | 5.1322 | 5.2717 | 5.3916 | 5.4958 | 5.5872
|  |  |  | 41 | 1.6482 | 2.6699 | 3.3652 | 3.8691 | 4.251 | 4.7914 | 4.9897 | 5.1556 | 5.2965 | 5.4176 | 5.5229 | 5.6152
| Pre-Screen Strategy |  |  | 51 | 1.6493 | 2.6733 | 3.371 | 3.8769 | 4.2605 | 4.8037 | 5.0031 | 5.1699 | 5.3117 | 5.4336 | 5.5395 | 5.6324
5 | Seq orientations [secondary screen] | 2 |  | 61 | 1.65 | 2.6756 | 3.3748 | 3.8821 | 4.2669 | 4.812 | 5.0121 | 5.1796 | 5.3219 | 5.4443 | 5.5507 | 5.644
6 | Polymorphisms [N] | 0 |  | 71 | 1.6506 | 2.6773 | 3.3776 | 3.8859 | 4.2715 | 4.818 | 5.0186 | 5.1866 | 5.3294 | 5.4521 | 5.5588 | 5.6524
7 | False positive rate [Pps] | 0.1 |  | 81 | 1.651 | 2.6785 | 3.3797 | 3.8887 | 4.275 | 4.8225 | 5.0236 | 5.1919 | 5.3349 | 5.458 | 5.5649 | 5.6587
8 | Failure rate [Fps] | 0.05 |  | 91 | 1.6513 | 2.6795 | 3.3814 | 3.8909 | 4.2777 | 4.826 | 5.0274 | 5.196 | 5.3393 | 5.4625 | 5.5697 | 5.6637
|  |  |  | 101 | 1.6515 | 2.6803 | 3.3827 | 3.8927 | 4.2799 | 4.8289 | 5.0305 | 5.1994 | 5.3428 | 5.4662 | 5.5735 | 5.6676
Test Characteristics
9 | Pick up rate (per patient) | 0.15 |  | Relative value of prescreen [V] 1: 6.66
10 | No of exons | 100 |  | Relative value of prescreen [V] 1.6538: 0.0015; Relative value of prescreen [V] 1: 4.7509
11 | Relative value of prescreen [V] | 6.66
12 | Detection rate (per fragment) | 0.0015
Absolute values
13 | Value of single pre-screen rxn | 0.23
14 | Batch size | 1 | bar: Relative value of prescreen [V] 1
15 | Controls per fragment | 2
a | Advantage of Pre-screen [A] | 4.7509
b | Value of overall screen (per patient) | 162.2177
c | Value per mutation detected (ps) | 1081.4513
d | Value of seq equivalent (per patient) | 770.6726
e | Value per mutation detected (seq) | 5137.8172
| PS false +ve + poly | 0.1
Display characteristics
| Max expected detection rate [D] | 1
| Max relative value [V] | 10
| Required advantage [A'] | 1
No of exons (per fragment)
Relative Value of Pre-screen
Advantage of Pre-screen
f. General Output

## costing (hidden)
HT Consumables Costing
[7 empty] | Sequencing |  |  |  |  | CSCE
Item | Supplier | Ref | Qty | Unit | Cost | Cost per unit | 4 plates | waste | Total useage | total cost (x384) | Total Cost (x1) | 4 plates | waste | Total useage | total cost (x384) | Total Cost (x1)
PCR | [7 empty] | 7 |  |  |  |  | 7
PCR Premix | Cambio | MO7205A | 5000 | ul | 38 | 0.0076 | 2208 | 154.56 | 2362.56 | 17.9555 | 0.046759 | 2208 | 154.56 | 2362.56 | 17.9555 | 0.046759
GS primers (100fmol/ul) | MWG | estimated | 500000 | ul | 20 | 4e-05 | 1 | 0.07 | 1.07 | 4.28e-05 | 1.1146e-07 | 1 | 0.07 | 1.07 | 4.28e-05 | 1.1146e-07
M13 Primers (2pmol/ul) | MWG | estimated | 25000 | ul | 33 | 0.00132 | 1 | 0.07 | 1.07 | 0.0014124 | 3.6781e-06 | 1 | 0.07 | 1.07 | 0.0014124 | 3.6781e-06
96 Well PCR Plate | Anachem | 21970B | 100 | nr | 168 | 1.68 | 4 | 0.28 | 4.28 | 7.1904 | 0.018725 | 6 | 0.42 | 6.42 | 10.7856 | 0.028087
20 ul Tips | Star Lab | E1075-4402 | 96 | nr | 4.94 | 0.051458 | 194 | 13.58 | 207.58 | 10.6817 | 0.027817 | 194 | 13.58 | 207.58 | 10.6817 | 0.027817
250 ul Tips | Star Lab | E1075-0402 | 96 | nr | 4.7 | 0.048958 | 37 | 2.59 | 39.59 | 1.9383 | 0.0050476 | 37 | 2.59 | 39.59 | 1.9383 | 0.0050476
Taq | Invitrogen | 18038-026 | 100 | ul | 78 | 0.78 | 17.6 | 1.232 | 18.832 | 14.689 | 0.038253 | 17.6 | 1.232 | 18.832 | 14.689 | 0.038253
Adhesive PCR seals | ABgene | AB-0626 | 100 | nr | 50 | 0.5 | 5 | 0.35 | 5.35 | 2.675 | 0.0069661 | 4 | 0.28 | 4.28 | 2.14 | 0.0055729
Cleanup
EXO 1 | NEB | M0293L | 750 | ul | 176 | 0.23467 | 200 | 14 | 214 | 50.2187 | 0.13078 | n/a | n/a | n/a | n/a | n/a
SAP | Amersham | E70092X | 5000 | ul | 200 | 0.04 | 400 | 28 | 428 | 17.12 | 0.044583 | n/a | n/a | n/a | n/a | n/a
20 ul Tips | Star Lab | E1075-4402 | 96 | nr | 4.94 | 0.051458 | 8 | 0.56 | 8.56 | 0.44048 | 0.0011471 | n/a | n/a | n/a | n/a | n/a
250 ul Tips | Star Lab | E1075-0402 | 96 | nr | 4.7 | 0.048958 | 10 | 0.7 | 10.7 | 0.52385 | 0.0013642 | n/a | n/a | n/a | n/a | n/a
Sequence
BigDye V1 | Applied Biosystems | 4303149 | 800 | ul | 424 | 0.53 | 282.24 | 19.7568 | 301.9968 | 160.0583 | 0.41682 | n/a | n/a | n/a | n/a | n/a
5x Reaction Buffer | Applied Biosystems | 4305603 | 1200 | ul | 192 | 0.16 | 423.36 | 29.6352 | 452.9952 | 72.4792 | 0.18875 | n/a | n/a | n/a | n/a | n/a
M13 Primers | MWG | estimated | 500 | ul | 33 | 0.066 | 141.12 | 9.8784 | 150.9984 | 9.9659 | 0.025953 | n/a | n/a | n/a | n/a | n/a
96 Well PCR Plate | Anachem | 21970B | 100 | nr | 168 | 1.68 | 4 | 0.28 | 4.28 | 7.1904 | 0.018725 | n/a | n/a | n/a | n/a | n/a
20 ul Tips | Star Lab | E1075-4402 | 96 | nr | 4.94 | 0.051458 | 384 | 26.88 | 410.88 | 21.1432 | 0.05506 | n/a | n/a | n/a | n/a | n/a
250 ul Tips | Star Lab | E1075-0402 | 96 | nr | 4.7 | 0.048958 | 44 | 3.08 | 47.08 | 2.305 | 0.0060025 | n/a | n/a | n/a | n/a | n/a
Cleanup
Millipore 384 filter plates |  |  | 1 | nr | 70 | 70 | 1 | 0.07 | 1.07 | 74.9 | 0.19505 | n/a | n/a | n/a | n/a | n/a
384 Well Plate | Applied Biosystems | 4309849 | 1 | nr | 5 | 5 | 1 | 0.07 | 1.07 | 5.35 | 0.013932 | n/a | n/a | n/a | n/a | n/a
20 ul Tips | Star Lab | E1075-4402 | 96 | nr | 4.94 | 0.051458 | 384 | 26.88 | 410.88 | 21.1432 | 0.05506 | n/a | n/a | n/a | n/a | n/a
250 ul Tips | Star Lab | E1075-0402 | 96 | nr | 4.7 | 0.048958 | 44 | 3.08 | 47.08 | 2.305 | 0.0060025 | n/a | n/a | n/a | n/a | n/a
Run | [6 empty] | 80.64
GeneScan 500 LIZ | Applied Biosystems | 4322682 | 400 | ul | 204.8 | 0.512 | 0 | 0 | 0 | 0 | 0 | 10 | 0.7 | 10.7 | 5.4784 | 0.014267
POP6 | Applied Biosystems | 4316357 | 23000 | ul | 270 | 0.011739 | 4000 | 280 | 4280 | 50.2435 | 0.13084 | 1000 | 70 | 1070 | 12.5609 | 0.032711
HiDi Formamide | Applied Biosystems | 4311320 | 25000 | ul | 21.4 | 0.000856 | 3840 | 268.8 | 4108.8 | 3.5171 | 0.0091592 | 0 | 0 | 0 | 0 | 0
36cm 16 Capillary Array | Applied Biosystems | 4315930 | 1 | nr | 372.8 | 372.8 | 0.08 | 0.0056 | 0.0856 | 31.9117 | 0.083103 | 0.005 | 0.00035 | 0.00535 | 11.1815 | 0.029118
10x Running Buffer | Applied Biosystems | 402824 | 25000 | ul | 54.5 | 0.00218 | 2500 | 175 | 2675 | 5.8315 | 0.015186 | 600 | 42 | 642 | 1.3996 | 0.0036447
[10 empty] | 591.7782 | 1.5411 |  |  |  | 88.8118 | 0.23128
6.6633
Note on P1: Medical Genetics: Theoretical computer update only
Note on P2: Medical Genetics: Physical audit of stock held